## Detailed Takeoff
FAST ESTIMATION |  |  | Project: CATTAIL CREEK
CUSTOMER ID: 124834 |  |  | Address: SOUTH MURDERKILL HUNDRED KENT COUNTY, DELAWARE
SR# | CSI SECTION | MATERIAL DESCRIPTION | QUANTITY | WASTAGE | QTY. W/ WASTAGE | UNIT OF MEASUREMENT | UNIT COST (Labor) | UNIT COST (Material) | TOTAL ITEM COST (Material + Labor) | TOTAL TRADE COST
DIV.01 |  | GENERAL CONDITIONS
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS |  |  | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS |  |  | 0
3 |  | Signage | 1 | 0% | 1 | LS |  |  | 0
4 |  | Supervisory Personnel | 1 | 0% | 1 | LS |  |  | 0
5 |  | Lighting And Power | 1 | 0% | 1 | LS |  |  | 0
6 |  | Toilet Facilities | 1 | 0% | 1 | LS |  |  | 0
7 |  | Material Storage | 1 | 0% | 1 | LS |  |  | 0
8 |  | Cleaning | 1 | 0% | 1 | LS |  |  | 0
|  | SUB-TOTAL | [7 empty] | 0
DIV.31 |  | EARTHWORK
EXCAVATION FOR SEDIMENT BASIN
9 |  | SEDIMENT BASIN #1 | 7557.4815 | 10% | 8313.2296 | CY |  |  | 0
10 |  | SEDIMENT BASIN #2 | 5782.3333 | 10% | 6360.5667 | CY |  |  | 0
11 |  | SEDIMENT BASIN #3 | 6046.0741 | 10% | 6650.6815 | CY |  |  | 0
CUTTING FILLING
12 |  | CONTROLLED & COMPECTED FILL | 16133.8519 | 10% | 17747.237 | CY |  |  | 0
|  | SUB-TOTAL | [7 empty] | 0
DIV.32 |  | EXTERIOR IMPROVEMENTS
PAVEMENTS
13 |  | 5' CONCRETE SIDEWALK | 164257 | 10% | 180682.7 | SF |  |  | 0
14 |  | PROPOSED PAVEMENT, SUPERPAVE 1 1/4" TYPE C HOT MIX 115 GYRATION PG-22(401644) over, SUPERPAVE 1 1/2" TYPE C HOT MIX 115 GYRATION PG-22(401644), over SUPERPAVE 2 1/4" TYPE B HOT MIX 115 GYRATION PG-22(401647), over 8" GRADED Aggregate(302005) over SUBGRADE | 224036 | 10% | 246439.6 | SF |  |  | 0
15 |  | PROPOSED PAVEMENT, SUPERPAVE 1 1/4" TYPE C HOT MIX 115 GYRATION PG-22(401644) over, SUPERPAVE 1 1/2" TYPE C HOT MIX 115 GYRATION PG-22(401644), over SUPERPAVE 2 1/4" TYPE B HOT MIX 115 GYRATION PG-22(401647), over 7" GRADED Aggregate(302005) over SUBGRADE | 174245 | 10% | 191669.5 | SF |  |  | 0
16 |  | PROPOSED PAVEMENT, SUPERPAVE 1 1/4" TYPE C HOT MIX 115 GYRATION PG-22(401644) over, SUPERPAVE 1 1/2" TYPE C HOT MIX 115 GYRATION PG-22(401644), over SUPERPAVE 3" TYPE B HOT MIX 115 GYRATION PG-22(401647), over 8" GRADED Aggregate(302005) over SUBGRADE | 124456 | 10% | 136901.6 | SF |  |  | 0
ENTRANCE- BARRATT'S (CHAPEL RAOD)
17 |  | TEMPORARY PAVEMENT, SUPERPAVE 3" TYPE B HOT MIX 115 GYRATION PG-22(401647), over 8" GRADED Aggregate(302005) over SUBGRADE | 12934 | 10% | 14227.4 | SF |  |  | 0
18 |  | PROPOSED PAVEMENT, SUPERPAVE 1 1/4" TYPE C HOT MIX 115 GYRATION PG-22(401644) over, SUPERPAVE 1 1/2" TYPE C HOT MIX 115 GYRATION PG-22(401644), over SUPERPAVE 2 1/4" TYPE B HOT MIX 115 GYRATION PG-22(401647), over 8" GRADED Aggregate(302005) over SUBGRADE | 43145 | 10% | 47459.5 | SF |  |  | 0
19 |  | PROPOSED MILLING & OVERLAY | 30633 | 10% | 33696.3 | SF |  |  | 0
20 |  | PROPOSED DETECTABLE WARNING SURFACE | 330 | 10% | 363 | SF |  |  | 0
21 |  | PROPOSED PAVEMENT FOR MULTIMODAL PATH | 13833 | 10% | 15216.3 | SF |  |  | 0
22 |  | PROPOSED CONCRETE TRUCK APRON 8" PATTERENED PORTLANF CEMENT IN CONFORMANCE w/DELDOT SPECIFICATION #501526 | 3000 | 10% | 3300 | SF |  |  | 0
23 |  | PROPOSED SPLITTER ISLAND IMPERVIOUS MATERIAL SHALL BE STAMED CONCRETE w/PAVING 401701 | 1961 | 10% | 2157.1 | SF |  |  | 0
CURB & GUTER
24 |  | PCC CURB | 539 | 10% | 592.9 | LF |  |  | 0
25 |  | INTEGRAL 8" PCC CURB & GUTTER TYPE | 32852 | 10% | 36137.2 | LF |  |  | 0
SIGNAGE
26 |  | 24" X 20" METAL PLATE SIGN | 8 | 0% | 8 | EA |  |  | 0
27 |  | 24" X 24" METAL PLATE SIGN | 3 | 0% | 3 | EA |  |  | 0
28 |  | 40" X 18" METAL PLATE SIGN | 6 | 0% | 6 | EA |  |  | 0
29 |  | 50" X 26" METAL PLATE SIGN | 1 | 0% | 1 | EA |  |  | 0
30 |  | 32" X 20" METAL PLATE SIGN | 2 | 0% | 2 | EA |  |  | 0
31 |  | 96" X 48" METAL PLATE SIGN, D/G FLUORESCENT ORANG BLACK LEGEN | 5 | 0% | 5 | EA |  |  | 0
32 |  | 40" X 60" METAL PLATE SIGN | 2 | 0% | 2 | EA |  |  | 0
NOTE: SIGN BACKROUND COVERD w/ HIGH INTENSITY REFLECTIVE WHITE MATERIAL, BORDER w/BLACK MATERIAL, MFR: COATED ALUMINIUM
MISC WORK
33 |  | DRIVE WAY FOR PUMP STATION, 2" OF TYPE C HOT MIX OVER 8" CR-6 OVER COMPECTED SUBGRADE | 336.68 | 10% | 370.348 | SF |  |  | 0
34 |  | CONCRETE SLAB @ PUMP STATION | 569 | 10% | 625.9 | SF |  |  | 0
35 |  | LANDSCAPING STONE @ PUMP STATION | 834 | 10% | 917.4 | SF |  |  | 0
0
36 |  | LANDDLOK TRM AREA | 3487 | 10% | 3835.7 | SF |  |  | 0
37 |  | STABILIZED CONSTRUCTION ENTRANCE | 8377 | 10% | 9214.7 | SF |  |  | 0
|  | SUB-TOTAL | [7 empty] | 0
DIV.33 |  | SITE UTILITIES
PHASE 1
FM LINE
38 |  | 6" FORCE MAIN (SDR21,PVC) | 1489 | 10% | 1637.9 | LF |  |  | 0
WATER LINE
39 |  | 8" WATER MAIN LINE | 978 | 10% | 1075.8 | LF |  |  | 0
SANITARY LINE
40 |  | 8" SANITARY SERVICE LINE | 1003 | 10% | 1103.3 | LF |  |  | 0
MANHOLE STRUCTURE
41 |  | 66" x 66" BOX | 1 | 0% | 1 | EA |  |  | 0
42 |  | 48" x 30" BOX | 5 | 0% | 5 | EA |  |  | 0
43 |  | 66" x 48" BOX | 1 | 0% | 1 | EA |  |  | 0
INLET STRUCTURE
44 |  | 48" x 30" BOX | 11 | 0% | 46 | EA |  |  | 0
45 |  | 34" x 24" BOX | 2 | 0% | 2 | EA |  |  | 0
46 |  | 48" x 48" BOX | 3 | 0% | 3 | EA |  |  | 0
FLARED AND SECTION
47 |  | 15" CONCRETE END SECTION | 314 | 10% | 345.4 | SF |  |  | 0
48 |  | 18" CONCRETE END SECTION | 326 | 10% | 358.6 | SF |  |  | 0
49 |  | 12" CONCRETE END SECTION | 340 | 10% | 374 | SF |  |  | 0
HDPE PIPE
50 |  | 15" HIGH DENSITY POLYETHYLENE STROM DRAIN | 1072.5 | 10% | 1179.75 | LF |  |  | 0
51 |  | 18" HIGH DENSITY POLYETHYLENE STROM DRAIN | 314.25 | 10% | 345.675 | LF |  |  | 0
52 |  | 21" HIGH DENSITY POLYETHYLENE STROM DRAIN | 145 | 10% | 159.5 | LF |  |  | 0
53 |  | 24" HIGH DENSITY POLYETHYLENE STROM DRAIN | 325 | 10% | 357.5 | LF |  |  | 0
54 |  | 30" HIGH DENSITY POLYETHYLENE STROM DRAIN | 159 | 10% | 174.9 | LF |  |  | 0
55 |  | 36" HIGH DENSITY POLYETHYLENE STROM DRAIN | 43.75 | 10% | 48.125 | LF |  |  | 0
56 |  | 42" HIGH DENSITY POLYETHYLENE STROM DRAIN | 42.25 | 10% | 46.475 | LF |  |  | 0
RCC PIPE
57 |  | 12" REINFORCED COCRETE CIRCULAR PIPE | 5.75 | 10% | 6.325 | LF |  |  | 0
58 |  | 15" REINFORCED COCRETE CIRCULAR PIPE | 240.25 | 10% | 264.275 | LF |  |  | 0
59 |  | 18" REINFORCED COCRETE CIRCULAR PIPE | 259.25 | 10% | 285.175 | LF |  |  | 0
60 |  | 21" REINFORCED COCRETE CIRCULAR PIPE | 17 | 10% | 18.7 | LF |  |  | 0
61 |  | 24" REINFORCED COCRETE CIRCULAR PIPE | 218.5 | 10% | 240.35 | LF |  |  | 0
62 |  | 27" REINFORCED COCRETE CIRCULAR PIPE | 143.5 | 10% | 157.85 | LF |  |  | 0
63 |  | 30" REINFORCED COCRETE CIRCULAR PIPE | 158.5 | 10% | 174.35 | LF |  |  | 0
64 |  | 36" REINFORCED COCRETE CIRCULAR PIPE | 6 | 10% | 6.6 | LF |  |  | 0
65 |  | 42" REINFORCED COCRETE CIRCULAR PIPE | 66.75 | 10% | 73.425 | LF |  |  | 0
66 |  | FIRE HYDRANT | 4 | 0% | 4 | EA |  |  | 0
PHASE 2
FM LINE
67 |  | 6" FORCE MAIN (SDR21,PVC) | 1241 | 10% | 1365.1 | LF |  |  | 0
WATER LINE
68 |  | 8" WATER MAIN LINE | 1245 | 10% | 1369.5 | LF |  |  | 0
SANITARY LINE
69 |  | 8" SANITARY SERVICE LINE | 1469 | 10% | 1615.9 | LF |  |  | 0
MANHOLE STRUCTURE
70 |  | 66" x 66" BOX | 3 | 0% | 3 | EA |  |  | 0
71 |  | 48" x 30" BOX | 16 | 0% | 16 | EA |  |  | 0
72 |  | 48" x 48" BOX | 4 | 0% | 4 | EA |  |  | 0
73 |  | 66" x 48" BOX | 1 | 0% | 1 | EA |  |  | 0
INLET STRUCTURE
74 |  | 48" x 30" BOX | 13 | 0% | 46 | EA |  |  | 0
75 |  | 66" x 66" BOX | 4 | 0% | 4 | EA |  |  | 0
76 |  | 34" x 24" BOX | 20 | 0% | 20 | EA |  |  | 0
77 |  | 48" x 48" BOX | 2 | 0% | 2 | EA |  |  | 0
78 |  | 66" x 48" BOX | 1 | 0% | 1 | EA |  |  | 0
79 |  | 72" x 72" BOX | 1 | 0% | 1 | EA |  |  | 0
FLARED AND SECTION
80 |  | 42" CONCRETE END SECTION | 340 | 10% | 374 | SF |  |  | 0
81 |  | 27" CONCRETE END SECTION | 274 | 10% | 301.4 | SF |  |  | 0
82 |  | 15" CONCRETE END SECTION | 314 | 10% | 345.4 | SF |  |  | 0
83 |  | 18" CONCRETE END SECTION | 326 | 10% | 358.6 | SF |  |  | 0
84 |  | 12" CONCRETE END SECTION | 340 | 10% | 374 | SF |  |  | 0
HDPE PIPE
85 |  | 15" HIGH DENSITY POLYETHYLENE STROM DRAIN | 1112.5 | 10% | 1223.75 | LF |  |  | 0
86 |  | 18" HIGH DENSITY POLYETHYLENE STROM DRAIN | 316 | 10% | 347.6 | LF |  |  | 0
87 |  | 21" HIGH DENSITY POLYETHYLENE STROM DRAIN | 147 | 10% | 161.7 | LF |  |  | 0
88 |  | 24" HIGH DENSITY POLYETHYLENE STROM DRAIN | 345 | 10% | 379.5 | LF |  |  | 0
89 |  | 30" HIGH DENSITY POLYETHYLENE STROM DRAIN | 161 | 10% | 177.1 | LF |  |  | 0
90 |  | 36" HIGH DENSITY POLYETHYLENE STROM DRAIN | 47 | 10% | 51.7 | LF |  |  | 0
91 |  | 42" HIGH DENSITY POLYETHYLENE STROM DRAIN | 46 | 10% | 50.6 | LF |  |  | 0
RCC PIPE
92 |  | 12" REINFORCED COCRETE CIRCULAR PIPE | 8 | 10% | 8.8 | LF |  |  | 0
93 |  | 15" REINFORCED COCRETE CIRCULAR PIPE | 240 | 10% | 264 | LF |  |  | 0
94 |  | 18" REINFORCED COCRETE CIRCULAR PIPE | 261 | 10% | 287.1 | LF |  |  | 0
95 |  | 21" REINFORCED COCRETE CIRCULAR PIPE | 19 | 10% | 20.9 | LF |  |  | 0
96 |  | 24" REINFORCED COCRETE CIRCULAR PIPE | 221 | 10% | 243.1 | LF |  |  | 0
97 |  | 27" REINFORCED COCRETE CIRCULAR PIPE | 146 | 10% | 160.6 | LF |  |  | 0
98 |  | 30" REINFORCED COCRETE CIRCULAR PIPE | 161 | 10% | 177.1 | LF |  |  | 0
99 |  | 36" REINFORCED COCRETE CIRCULAR PIPE | 5 | 10% | 5.5 | LF |  |  | 0
100 |  | 42" REINFORCED COCRETE CIRCULAR PIPE | 66 | 10% | 72.6 | LF |  |  | 0
101 |  | FIRE HYDRANT | 4 | 0% | 4 | EA |  |  | 0
PHASE 3
WATER LINE
102 |  | 8" WATER MAIN LINE | 1195 | 10% | 1314.5 | LF |  |  | 0
SANITARY LINE
103 |  | 8" SANITARY SERVICE LINE | 1201 | 10% | 1321.1 | LF |  |  | 0
MANHOLE STRUCTURE
104 |  | 48" x 30" BOX | 15 | 0% | 15 | EA |  |  | 0
105 |  | 48" x 48" BOX | 1 | 0% | 1 | EA |  |  | 0
INLET STRUCTURE
106 |  | 48" x 30" BOX | 12 | 0% | 46 | EA |  |  | 0
107 |  | 66" x 66" BOX | 1 | 0% | 1 | EA |  |  | 0
108 |  | 34" x 24" BOX | 8 | 0% | 8 | EA |  |  | 0
109 |  | 48" x 48" BOX | 2 | 0% | 2 | EA |  |  | 0
110 |  | 66" x 48" BOX | 2 | 0% | 2 | EA |  |  | 0
FLARED AND SECTION
111 |  | 42" CONCRETE END SECTION | 340 | 10% | 374 | SF |  |  | 0
112 |  | 30" CONCRETE END SECTION | 324 | 10% | 356.4 | SF |  |  | 0
113 |  | 15" CONCRETE END SECTION | 628 | 10% | 690.8 | SF |  |  | 0
114 |  | 12" CONCRETE END SECTION | 340 | 10% | 374 | SF |  |  | 0
HDPE PIPE
115 |  | 15" HIGH DENSITY POLYETHYLENE STROM DRAIN | 1012.5 | 10% | 1113.75 | LF |  |  | 0
116 |  | 18" HIGH DENSITY POLYETHYLENE STROM DRAIN | 306 | 10% | 336.6 | LF |  |  | 0
117 |  | 21" HIGH DENSITY POLYETHYLENE STROM DRAIN | 145 | 10% | 159.5 | LF |  |  | 0
118 |  | 24" HIGH DENSITY POLYETHYLENE STROM DRAIN | 344 | 10% | 378.4 | LF |  |  | 0
119 |  | 30" HIGH DENSITY POLYETHYLENE STROM DRAIN | 160 | 10% | 176 | LF |  |  | 0
120 |  | 36" HIGH DENSITY POLYETHYLENE STROM DRAIN | 45 | 10% | 49.5 | LF |  |  | 0
121 |  | 42" HIGH DENSITY POLYETHYLENE STROM DRAIN | 42 | 10% | 46.2 | LF |  |  | 0
RCC PIPE
122 |  | 12" REINFORCED COCRETE CIRCULAR PIPE | 6 | 10% | 6.6 | LF |  |  | 0
123 |  | 15" REINFORCED COCRETE CIRCULAR PIPE | 238 | 10% | 261.8 | LF |  |  | 0
124 |  | 18" REINFORCED COCRETE CIRCULAR PIPE | 259 | 10% | 284.9 | LF |  |  | 0
125 |  | 21" REINFORCED COCRETE CIRCULAR PIPE | 16 | 10% | 17.6 | LF |  |  | 0
126 |  | 24" REINFORCED COCRETE CIRCULAR PIPE | 219 | 10% | 240.9 | LF |  |  | 0
127 |  | 27" REINFORCED COCRETE CIRCULAR PIPE | 146 | 10% | 160.6 | LF |  |  | 0
128 |  | 30" REINFORCED COCRETE CIRCULAR PIPE | 161 | 10% | 177.1 | LF |  |  | 0
129 |  | 36" REINFORCED COCRETE CIRCULAR PIPE | 5 | 10% | 5.5 | LF |  |  | 0
130 |  | 42" REINFORCED COCRETE CIRCULAR PIPE | 66 | 10% | 72.6 | LF |  |  | 0
131 |  | FIRE HYDRANT | 3 | 0% | 3 | EA |  |  | 0
PHASE 4
FM LINE
132 |  | 6" FORCE MAIN (SDR21,PVC) | 820 | 10% | 902 | LF |  |  | 0
WATER LINE
133 |  | 8" WATER MAIN LINE | 1362 | 10% | 1498.2 | LF |  |  | 0
SANITARY LINE
134 |  | 8" SANITARY SERVICE LINE | 1225 | 10% | 1347.5 | LF |  |  | 0
MANHOLE STRUCTURE
135 |  | 66" x 66" BOX | 1 | 0% | 1 | EA |  |  | 0
136 |  | 48" x 30" BOX | 13 | 0% | 13 | EA |  |  | 0
INLET STRUCTURE
137 |  | 48" x 30" BOX | 10 | 0% | 46 | EA |  |  | 0
138 |  | 34" x 24" BOX | 6 | 0% | 6 | EA |  |  | 0
139 |  | 48" x 48" BOX | 1 | 0% | 1 | EA |  |  | 0
140 |  | 66" x 48" BOX | 2 | 0% | 2 | EA |  |  | 0
FLARED AND SECTION
141 |  | 42" CONCRETE END SECTION | 340 | 10% | 374 | SF |  |  | 0
142 |  | 27" CONCRETE END SECTION | 274 | 10% | 301.4 | SF |  |  | 0
143 |  | 30" CONCRETE END SECTION | 324 | 10% | 356.4 | SF |  |  | 0
144 |  | 18" CONCRETE END SECTION | 326 | 10% | 358.6 | SF |  |  | 0
HDPE PIPE
145 |  | 15" HIGH DENSITY POLYETHYLENE STROM DRAIN | 1112.5 | 10% | 1223.75 | LF |  |  | 0
146 |  | 18" HIGH DENSITY POLYETHYLENE STROM DRAIN | 316 | 10% | 347.6 | LF |  |  | 0
147 |  | 21" HIGH DENSITY POLYETHYLENE STROM DRAIN | 147 | 10% | 161.7 | LF |  |  | 0
148 |  | 24" HIGH DENSITY POLYETHYLENE STROM DRAIN | 345 | 10% | 379.5 | LF |  |  | 0
149 |  | 30" HIGH DENSITY POLYETHYLENE STROM DRAIN | 161 | 10% | 177.1 | LF |  |  | 0
150 |  | 36" HIGH DENSITY POLYETHYLENE STROM DRAIN | 47 | 10% | 51.7 | LF |  |  | 0
151 |  | 42" HIGH DENSITY POLYETHYLENE STROM DRAIN | 46 | 10% | 50.6 | LF |  |  | 0
RCC PIPE
152 |  | 12" REINFORCED COCRETE CIRCULAR PIPE | 8 | 10% | 8.8 | LF |  |  | 0
153 |  | 15" REINFORCED COCRETE CIRCULAR PIPE | 240 | 10% | 264 | LF |  |  | 0
154 |  | 18" REINFORCED COCRETE CIRCULAR PIPE | 261 | 10% | 287.1 | LF |  |  | 0
155 |  | 21" REINFORCED COCRETE CIRCULAR PIPE | 19 | 10% | 20.9 | LF |  |  | 0
156 |  | 24" REINFORCED COCRETE CIRCULAR PIPE | 221 | 10% | 243.1 | LF |  |  | 0
157 |  | 27" REINFORCED COCRETE CIRCULAR PIPE | 146 | 10% | 160.6 | LF |  |  | 0
158 |  | 30" REINFORCED COCRETE CIRCULAR PIPE | 161 | 10% | 177.1 | LF |  |  | 0
159 |  | 36" REINFORCED COCRETE CIRCULAR PIPE | 5 | 10% | 5.5 | LF |  |  | 0
160 |  | 42" REINFORCED COCRETE CIRCULAR PIPE | 66 | 10% | 72.6 | LF |  |  | 0
161 |  | FIRE HYDRANT | 4 | 0% | 4 | EA |  |  | 0
OTHER UTILITIES
162 |  | 12" 1/32 BEND | 3 | 0% | 3 | EA |  |  | 0
163 |  | 8" X 8" TEE | 17 | 0% | 17 | EA |  |  | 0
164 |  | 8" X 8" CROSS | 7 | 0% | 7 | EA |  |  | 0
165 |  | 8" GATE VALVE | 51 | 0% | 51 | EA |  |  | 0
166 |  | 8" 1/32 BEND | 20 | 0% | 20 | EA |  |  | 0
167 |  | 8" 1/16 BEND | 47 | 0% | 47 | EA |  |  | 0
168 |  | 8" 1/4 BEND | 7 | 0% | 7 | EA |  |  | 0
169 |  | 6" GATE VALVE | 12 | 0% | 12 | EA |  |  | 0
170 |  | 8" X 6" TEE | 17 | 0% | 17 | EA |  |  | 0
171 |  | 8" CAP W/2" BLOW OFF | 4 | 0% | 4 | EA |  |  | 0
172 |  | 8" X 12" TEE | 1 | 0% | 1 | EA |  |  | 0
173 |  | 12" GATE VALVE | 2 | 0% | 2 | EA |  |  | 0
174 |  | 12" X 6" TEE | 1 | 0% | 1 | EA |  |  | 0
ELECTRIC UTILITIES
175 |  | STREET LIGHTS w/ELECTRIC POLE | 37 | 0% | 37 | EA |  |  | 0
FENCING
176 |  | 9'-0" CHAIN LINK FABRIC FENCE | 136.95 | 10% | 150.645 | LF |  |  | 0
177 |  | 9'-0" X 14'-0" DOUBLE WING CHAIN LINK FABRIC FENCE GATE | 1 | 0% | 1 | EA |  |  | 0
PUMP STATION UTILITIES
178 |  | 6" PVC TRANSITION COUPLING | 1 | 0% | 1 | EA |  |  | 0
179 |  | WILO SUBMERSIBLE PUMP(FA 10.65E FK 201-4/27 25 HP, 1740 RPM) | 2 | 0% | 2 | EA |  |  | 0
180 |  | ALUMINIUM LADDER(HALLIDAY), SERIES L-Idw/SERIES L-IE SAFETY EXTENTION | 1 | 0% | 1 | EA |  |  | 0
181 |  | 6" CHECK VALVE | 2 | 0% | 2 | EA |  |  | 0
182 |  | 4" PLUG VALVE | 2 | 0% | 2 | EA |  |  | 0
183 |  | 6" PLUG VALVE | 1 | 0% | 1 | EA |  |  | 0
184 |  | TF-1 CHECK VALVE w/316 SS CLAMPS | 1 | 0% | 1 | EA |  |  | 0
185 |  | ORIENT MAINHOLE | 1 | 0% | 1 | EA |  |  | 0
186 |  | VALVE VAULT | 1 | 0% | 1 | EA |  |  | 0
187 |  | JUNCTION BOX | 1 | 0% | 1 | EA |  |  | 0
188 |  | SITE LIGHT & TELEMETRY ANTENNA | 1 | 0% | 1 | EA |  |  | 0
PIPE UTILITIES SERVICES
189 |  | 3/4" WATER SERVICE | 94.2 | 10% | 103.62 | LF |  |  | 0
190 |  | 4" PVC W/TIDEFLEX SERIES | 7.93 | 10% | 8.723 | LF |  |  | 0
|  | SUB-TOTAL | [7 empty] | 0
SUB TOTAL | [9 empty] | 0
OVERHEAD |  |  | 7% | [6 empty] | 0
INSURANCE |  |  | 4% | [6 empty] | 0
PROFIT |  |  | 10% | [6 empty] | 0
CONTINGENCY |  |  | 4% | [6 empty] | 0
TOTAL BID | [9 empty] | 0